## Sheet1
highlighted measurements were likely slightly misaligned |  |  |  | **filename min and max values are inclusive
Detector | Distance (cm) | Lateral displacement (cm) | Pulse length (microseconds) | Shielding or not | Beam intensity (V) | Recorded Dose (C*10^-8) | Filename min | Filename max | Notes
BNL sensor | 154.3 | 0 | 0.5 | N | 85 | 0.007 | 124 | 126
BNL sensor | 154.3 | 0 | 1 | N | 85 | 0.013 | 127 | 136
BNL sensor | 154.3 | 0 | 2 | N | 85 | 0.029 | 137 | 142
BNL sensor | 154.3 | 0 | 3 | N | 85 | 0.036 | 143 | 147
BNL sensor | 154.3 | 0 | 1 | N | 110 | 0.109 | mar240005 | mar240008
BNL sensor | 154.3 | 0 | 0.5 | N | 110 | 0.056 | mar240009 | mar240012
BNL sensor | 154.3 | 0 | 0.5 | Y, PLA 2.5 cm | 110 | 0 | mar240013 | mar240023
BNL sensor | 154.3 | 0 | 0.5 | Y, "solid water" [plastic] 1.0 cm | 110 | 0.063 | mar240024 | mar240032
BNL sensor | 154.3 | 0 | 0.5 | Y, "solid water" [plastic] 2.0 cm | 110 | 0.047 | did not save any files
BNL sensor | 154.3 | 0 | 1 | Y, PLA 2.5 cm | 110 | 0 | mar240033 | mar240038
BNL sensor | 154.3 | 0 | 2 | Y, PLA 2.5 cm | 110 | 0.004 | mar240039 | mar240044 | << not outside uncertainty - no signal?
BNL sensor | 154.3 | 0 | 1 | N | 85 | 0.017 | mar240045 | mar240047
BNL sensor | 154.3 | 0 | 2 | N | 85 |  | did not save any files | similar to prev
BNL sensor | 154.3 | 15 | 1 | N | 85 |  | did not save any files | no signal
BNL sensor | 154.3 | 10 | 1 | N | 85 |  | did not save any files | no signal
BNL sensor | 154.3 | 5 | 1 | N | 85 | 0.013 | did not save any files
ACLGADs 300 micron pitch | 154.3 | 0 | 2 | N | 85 | 0.087 | mar240048 | mar240052
ACLGADs 300 micron pitch | 154.3 | 0 | 1 | N | 85 | 0.059 | mar240053 | mar240060
ACLGADs 300 micron pitch | 154.3 | 0 | 3 | N | 85 | 0.102 | mar240061 | mar240069
ACLGADs 300 micron pitch | 154.3 | 0 | 0.5 | N | 85 | 0.045 | mar240070 | mar240081
ACLGADs 300 micron pitch | 154.3 | 0 | 1 | N | 110 | 0.763 | did not save any files | saturated
ACLGADs 300 micron pitch | 107 | 0 | 1 | N | 85 | 0.123 | mar240082 | mar240093
ACLGADs 300 micron pitch | 107 | 0 | 2 | N | 85 | 0.173 | mar240094 | mar240106
ACLGADs 300 micron pitch | 107 | 0 | 3 | N | 85 |  | mar240107 | mar240120
ACLGADs 300 micron pitch | 57 | 0 | 1 | N | 85 | 0.403 | mar240121 | mar240127
ACLGADs 300 micron pitch | 57 | 0 | 2 | N | 85 | 0.593 | mar240128 | mar240139 | saturated
ACLGADs 300 micron pitch | 57 | 0 | 3 | N | 85 | 0.737 | mar240140 | mar240152
ACLGADs 300 micron pitch | 75 | 0 | 1 | N | 85 | 0.247 | mar240153 | mar240165
ACLGADs 300 micron pitch | 75 | 0 | 2 | N | 85 | 0.355 | mar240166 | mar240182
ACLGADs 300 micron pitch | 75 | 0 | 3 | N | 85 | 0.453 | mar240183 | mar240198
ACLGADs 500 micron pitch | 150 | 0 | 1 | N | 85 | 0.053 | did not save any files
ACLGADs 500 micron pitch | 150 | 0 | 3 | N | 85 | 0.077 | 199 | 207
ACLGADs 300 micron pitch | 150 | 0 | 2 | N | 85 |  | 208 | 209 | <<with magnet
ACLGADs 300 micron pitch | 150 | 0 | 2 | N | 85 |  | 210 | 216 | <<with magnet
ACLGADs 300 micron pitch | 150 | 10 | 2 | N | 85 |  | 217 | 220 | <<with magnet
ACLGADs 300 micron pitch | 120 |  | 2 | N | 85